## Slide 1: O AND M SECTION
322010501009-Rukesh k

## Slide 2: contens
Transformers
Puttenahalli Sub-station
Corporate Office

## Slide 3: Transformers
Power Transformers
Distrubution Transformers
Power Transformers .
DRY Type
Oil Type

## Slide 4: Distrubution Transformers
distribution transformer or service transformer is a transformer that provides the final voltage transformation in the electric power distribution system

## Slide 5: Corporate Office
Bangalore Metropolitan Area North Zone
Bangalore Metropolitan Area South Zone
Bangalore Rural Area Zone
Chitradurga Area Zone

## Slide 6: Puttenahalli (kptcl)
220/66/11 kv receiving station.
Step down transform .
There are 18 feeder .

## Slide 7: Yelahanka old town feeder
F1-Air force
F5-Yelahanka old town
F6-Maruthi Nagar
F10- Prakruthi Nagar
F12- kogilu
F13- ventala

## Slide 8: Puttenahalli Sub-station single line diagram

## Slide 9: Over head conductor
2 AcsR→ 75 Ams
4 ACSR→ 90 Ams
Rabbit→ 186 Ams most commonly used

## Slide 10: Over head line failers
Insulater breaks
Birds
Tree Branches broken
Squrrial birds

## Slide 11: Ug cables
RMU

## Slide 12: Ug cables failer
Joint fail
Unknown hitting

## Slide 13
Thank you